From the sample’s point of view,
Looking at the detector :
Rot1+ : move detector to the right
Rot2+ : move detector downwards
Rot3+ : rotate detector clockwise
Area
detector
d1
d2
PONI :
Here :
poni1>0
poni2>0
rot1
x1
rot2
x2
2θ
rot3
Detector's
local origin
d3
x3
Origin :
sample
position
Incoming
X-Ray beam
Distance
Scattered beam